# SCAFFOLD INSPECTIONS – CHECK LIST TO ASSIST THOSE CARRYING OUT THE SCAFFOLD INSPECTION

CHECK LIST: At each inspection check that your scaffolding does not have the faults described below:

| FOOTINGS: | Soft and uneven No base plates No sole boards Undermined | COUPLINGS: | Wrong fitting Loose Damaged No check couplers | TIES: | Some missing Loose Physical not enough Reveal not enough Wrong fitting | LADDERS/LADDER ACCESS GATES: | Damaged Insufficient length Not tied Gates not fitted to manufacturer’s instructions i.e. lack of puncheon stops |
| --- | --- | --- | --- | --- | --- | --- | --- |
| STANDARDS: | Not plumb Joined at same height Wrong spacing Damaged | BRIDLES: | Wrong spacing Wrong couplings Weak support | BOARDING: | Split/rotten boards Incomplete Not enough supports/traps | ACCESS: | Obstructed Not enough |
| LEDGERS: | Not level Joint in same bays Loose Damaged | BRACING: Façade | Some missing Loose Wrong fittings | LOADING: | Too heavy Shuttering propped from scaffold Material not loaded over standards | GIN WHEELS: | Weak supports No identity number Hook not moused No check fittings |
| PUTLOGS & TRANSOMS | Wrongly spaced Loose Wrongly supported | BRACING: Ledger at right angles to building | Some missing Loose Wrong fittings | BRICKGUARDS GUARDRAILS TOEBOARDS: | None Wrong height Loose Some missing Wrongly positioned | FANS: | Weak supports Not enough guy wires Some missing boards No hand rails |
|  |  | PLATFORM: | Not wide enough Lapped boards |  |  | HOIST TOWERS: | Not enough ties Not enough fencing No gates Poor operating position |

SCAFFOLD INSPECTION REGISTER

| Operating Business |  | Development |  |
| --- | --- | --- | --- |
| Plot number |  | Location/ description of scaffolding |  |

Scaffolding must inspected:

- After installation and before use; and

- Every 7 days after installation, or after an accident or near miss accident/ any alterations/ any adverse weather conditions

INSPECTION CHECKLIST

| INSPECTION NO: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | INSPECTION NO: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FOOTINGS |  |  |  |  |  |  |  |  |  |  | TIES |  |  |  |  |  |  |  |  |  |  |
| STANDARDS |  |  |  |  |  |  |  |  |  |  | BOARDING |  |  |  |  |  |  |  |  |  |  |
| LEDGERS |  |  |  |  |  |  |  |  |  |  | LOADING |  |  |  |  |  |  |  |  |  |  |
| PUTLOGS & TRANSOMS |  |  |  |  |  |  |  |  |  |  | LADDERS/LADDER ACCESS GATE |  |  |  |  |  |  |  |  |  |  |
| COUPLINGS |  |  |  |  |  |  |  |  |  |  | BRACING: façade |  |  |  |  |  |  |  |  |  |  |
| BRACING – LEDGER |  |  |  |  |  |  |  |  |  |  | BRICK GUARD/GUARD RAILS/TOE BOARDS |  |  |  |  |  |  |  |  |  |  |
| PLATFORM |  |  |  |  |  |  |  |  |  |  | LOADING PLATFORM |  |  |  |  |  |  |  |  |  |  |

| INSP NO | DATE & TIME OF INSPECTION | RESULTS OF INSPECTION AND ACTION TAKEN (INC. COMMENTS ON FAULTS SHOWN ABOVE & DETAILS OF REMEDIAL ACTION TAKEN) | NAME OF PERSON MAKING REPORT | POSITION |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |