Temporary Works (TW’s) Register Index

| Operating Business |  | Development |  |
| --- | --- | --- | --- |

Person Responsible for Maintaining the Register:

Designated Individual:

| Description of Temporary Works |  | Requirements |  |  | Design |  |  | Check |  | Approval |  | Supervision | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Name of Temporary Works Coordinator (TWC) | Risk Classification (0, 1, 2 or 3) | Permit Required (Y/N) | Name of Temporary Works Designer (TWD) | Date Design Received | Design Check Required (Y/N) | Date Issued for Checking | Name of Temporary Works Design Checker (TWDC) independent of TWD | Approved By | Date Approved | Name of Temporary Works Supervisor (TWS) | To include details of when designs have changed or require changing. Works complete etc |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |

Fig 1 TW Risk Level Guidance

| Level of risk | Low | Medium | High | Very High | TWC responsible | TWS responsible | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Depth / height of excavation support systems, retaining walls, manholes, sewers, split level houses, hoarding, sign boards, fencing, etc. Also consider location of temporary works, high levels of pedestrian traffic, exposed site location, etc. | >1.2m | 1.2-2.4m | >3m | +3m |  |  |  |
| Site car accommodation foundation bases |  |  |  |  | Ground workers | Ground workers | This must be designed |
| Temporary roads, haul roads |  |  |  |  | Ground workers | Ground workers | This must be designed |
| Hoarding & sign boards (Heras & temporary fences) up to 1.2m Retaining wall support |  |  |  |  | Site management | Site management/ fencing contractor | Hoarding must have a design. Heras fencing fitted as per manufactures guidance |
| Retaining wall support system |  |  |  |  | Site management | Ground workers | Must be designed |
| Underground service support systems |  |  |  |  | Ground workers | Ground workers | Must be designed |
| Mortar silo base / foundation |  |  |  |  | Site management | Ground workers | Must be designed |
| MEWPs, scissor lift bases, etc. |  |  |  |  | Site management | Ground workers | Must be designed |
| Plant access mats – piling rigs, crawler cranes, mobile cranes, etc. |  |  |  |  | Site management/ground workers | Ground workers | Must be designed. SM to take the role of TWC if they are on site |
| False work / formwork |  |  |  |  | Site management | Ground workers/concrete |  |
| Non-scaffold platforms (lift shafts, stair cores, risers, etc.) |  |  |  |  | Site management | Lift/stair installers | Must be designed. Generally part of the permanent structure |
| Basic scaffold (TG20 or system) |  |  |  |  | Site management | Scaffolder | Must have a TG 20 compliance sheet. For system scaffold the manufactures handbook must be followed. |
| Simple designed scaffold |  |  |  |  | Site management | Scaffolder | Must have a design |
| Complex designed scaffold |  |  |  |  | Scaffolding supervisor | Scaffolder | Must be designed and have a nominated qualified person to inspect |
| Scaffold anchor ties, debris netting/fans, etc |  |  |  |  | Site management/ scaffold supervisor | Scaffolder | Must have a design |
| Truss rack |  |  |  |  | Site manager | Scaffolder | Must have a design |
| Stairwell infill (sacrificial joists & flooring, Oxford Safety Systems, etc.) |  |  |  |  | Site manager | Carpenter of installer of the oxford type system | The stairwell infill must have a design for using sacrificial joist. Oxford systems must be fitted as per the manufactures hand book. |
| Tower crane base / foundation |  |  |  |  | Site manager | Ground workers | Must have a design |
| Crane lifting pads |  |  |  |  | Site manager | Ground workers | Must have a design |
| Safety decking system |  |  |  |  | Site manager | Installer | Manufactures installation guidance must be followed |
| (TRAD, birdcage, etc.) |  |  |  |  | Site management | Scaffolder | Must have a design |
| Roof truss erect (truss ladder, decking, expanding trellis, etc.) |  |  |  |  | Site management | Carpenter | Manufactures guidance must be followed |
| Roof truss temporary bracing |  |  |  |  | Site management | Carpenters | Must follow industry guidance |
| Propping – multiple props at single level |  |  |  |  | Site management | Scaffolder | Must have a design |
| Propping – multiple props at multiple levels |  |  |  |  | Site management | Scaffolder | Must have a design |

Notes:

- The above is guidance only and can be change if the risk is perceived as lower or higher.

- If the site team are not competent to carry out the role of the TWC then an anther TWC must be appointed and named this must be annotated on the TWR

- All designs must be check by an independent person, not involved in the design of the TW

- At the start of a site, where the ground workers have been appointed as PC, they will fulfil the roles of TWC and TWS.

- If the task is complex and out of the scope of the site management and the normal sub-contractors on site, then a structural engineer may required to be appointed to supervise the work

Nominated TWC

| Name | Task | Company | Signature | Remarks |
| --- | --- | --- | --- | --- |

Nominated TWS

| Name | Task | Company | Signature | Remarks |
| --- | --- | --- | --- | --- |