##### PERMIT TO WORK

Use in conjunction with Persimmon Group Procedure - PHGPR017

| Persimmon Company: |  |  |  | Site: |
| --- | --- | --- | --- | --- |
| Type of Work Requiring a Permit (please ) Excavations near underground services Entry into Confined Space Hot Work Mobile Plant near Overhead Cable Services |  |  | Alteration to existing electrical circuits Entry into Electrical Sub Station Use of Man Cage on Telehandler / Fork Lift |  |
| General details - Please complete in block capitals - * Delete as applicable |  |  |  |  |
| Description of Work |  |  |  |  |
| Organisation carrying out the work |  |  |  |  |
| Operator and Supervisor detail (person named must sign to receive the permit) |  |  |  |  |
| Area where work is carried out |  |  |  |  |
| Plant / Machinery involved |  |  |  |  |
| General checklist : *Delete as applicable - If any items are identified as No, then work must not proceed. - Method Statement and Risk assessments available - Yes/No* - Management and Operatives aware of Method Statement - Yes/No* - All necessary controls identified in "1" above are available - Yes/No* - Emergency Procedures / rescue plan in place in case of accident - Yes/No* - Specific Operative Training Certificates Available - Yes/No* |  |  |  |  |
| Task Specific Requirements |  |  |  |  |
| For Excavations: | - Service plans are available/ Services identified - Cable location device is available for use - Electrical/Gas/Water supply is/are isolated (where applicable) - Hand digging only is carried out within 0.5m of identified services |  |  |  |
| For Confined Spaces: | - Atmosphere monitoring equipment is available - ( Gas testers) - Breathing Apparatus Available (Where Applicable) - Rescue Winch Available (Where Applicable) |  |  |  |
| For Hot Work: | - Work area clear of combustible materials - Suitable Extinguishers available - Work area is checked for smouldering 1 hour after work is completed |  |  |  |
| For Mobile Plant near overhead cables | - Goal Posts and Barriers erected under overhead power lines - Machine restraining devices fitted - Height restriction signs displayed |  |  |  |
| For Electrical work | - Working on live electrical circuits is not permitted under any circumstances - Circuits must be isolated and secured by a qualified electrician prior to work starting - The lock off devices can only be removed on completion of works and when circuits are safe and a new test certificate has been issued - Re-instatement of the electrical supply should be carried out by the permit holder |  |  |  |
| Use of man cages | - Certificates of Thorough Inspection available ( 6 months) - Operator Training certificates available - All manages MUST be controllable from within the cage - Suitable harnesses are available and used - No lone working - Rescue plan available |  |  |  |

| Time Work to start: |  | Time Limit: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |
| I am satisfied that it is safe to do the work stated, provided the above instructions are carried out. Authorised by: Signed: Date: |  |  |  |  |  |
| I am fully aware of and understand the precautions stated on this permit. Received by: Signed: Date: |  |  |  |  |  |
| Signed Off | Date: |  | Time: |  | By whom: |