TRADE SPECIFICATION – HEALTH & SAFETY REQUIREMENTS

# Joiner – Sub Contract (SC), Self-Employed (SE) & Labour-Only (LO)

- SC Management shall attend a trade specific pre-start meeting with relevant Operating Business Management prior to commencing work on site to confirm health and safety requirements and arrangements.  Minutes of this meeting shall be distributed accordingly.

- Where applicable SC Management must ensure that their H & S Policy/Procedures, Method Statements and Risk Assessments cover the work activities detailed against their trade in the Generic & COSHH Risk Assessment matrices attached to this document.

- These documents must provide details of their management, co-ordination and/or co-operation with others during the design, erection and dismantling of all temporary works detailed in BS5975 that is associated with their work activities.

- SC Management must provide details within the Site Specific information provided including contact details of persons within their organisation responsible for the day to day management of health and safety issues on site including temporary works supervisors.

- All SC/SE/LO Supervisors and Operatives must report to the Site Manager prior to commencing work and receive specific site related induction training using the Persimmon Homes/Charles Church Induction Flip Chart.

- Evidence of Competency required:

SC/SE/LO Apprentice/Trainee:

Trainee CSCS Card (or working towards one via relevant NVQ)

SC/SE/LO Joiner:

CSCS Trade Card (or working towards one via relevant NVQ)

Supervisor (SC only):

CSCS Supervisory Card (or working towards one via relevant	NVQ)

- SC organisations must provide evidence for each project that all of their supervisors/employees (including SE & LO) who they intend to work on site have received adequate information and training associated with their work activities.

- SC organisations must provide evidence for each project that all of their supervisors/employees (including SE & LO) who they intend to work on site have read and understood the SC Organisations Site Specific Method Statements and Risk Assessments associated with their work activities.

- Operating Businesses must ensure that all SE/LO operatives confirm in writing that they are familiar with and are capable of working to the requirements of the Generic & COSHH Risk Assessments detailed in the matrices attached to this document prior to them commencing work on site.

- Where necessary Site Management must obtain copies of specific training records from the SE/LO confirming for example their ability to use plant & equipment.

Note: Proof of the training listed above will be recorded by Site Management on the Induction Training Form. Operatives/Supervisors who fail to provide a current and valid CSCS Card or evidence of training/experience will not gain access to site.

- All SC/SE/LO Supervisors and Operatives must sign in/out each day using the forms available before commencing work.

- SC Supervisors will identify themselves on the signing in sheet and will be the point of contact for receiving Site Management instructions for the work activities being undertaken.

- SC Supervisors are responsible for maintaining health and safety standards in the work activities carried out by themselves and others in their team.

- SC Supervisors will attend Health and Safety Meetings at the request of the Site Manager.

- SE/LO Operatives shall only commence work activities on site once they have received instruction from the Site Manager.

- All SC/SE/LO Supervisors and Operatives are required to attend toolbox talks when provided by either the Group H & S Department or Site Management.

- All SC/SE/LO Supervisors and Operatives are required to wear suitable and sufficient PPE at all times including Hard Hats, Protective Footwear and High-Visibility clothing.

- Site Management will complete a regular Sub-Contractor Performance Monitoring Return.

- Documented Warnings will be issued by Site Management to Operatives and Supervisors who persistently breach the requirements of work related Method Statements, Risk Assessments or Site Specific Rules.

- SC Management will co-operate with all incident investigations and shall respond promptly to requests for actions to be taken and the provision of relevant information following accidents or breaches of health and safety involving their employees.

- Site Management have been instructed that should they identify a breach of health and safety that has the potential for or has resulted in serious injury then they must cease the work activity immediately and investigate this matter further. It should be noted that this may result in the person/s responsible removal from site, the loss of contracts and/or future work opportunities.

| Trade Specification Generic Risk Assessments Matrix - Housebuilding Operations |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | G/Worker | Forklift | Gen Lab | Bricklayer | Scaffolder | Roofer | Joiner | Plumber | Electrician | Mastic Window Fitter | Plasterer | Painter & Decorator |
| 1. | Independent Erection, Alteration & Dismantling of Scaffolding - 2 storey Housing Development Site |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Erection of Putlog Scaffolding 2 Storey Properties |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Loading Towers or Loading Areas within Scaffold Structures |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Use of Abrasive Wheels or Cutting Discs |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Bricklayers and Bricklaying Operations |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. | Installation of Roof Trusses (to include garages) |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. | Excavation over 1.2m Deep |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. | Underground Services |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. | Fire |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. | Working with Wet Concrete, Wet Cement & Mortar Products |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. | Concrete Breaking and Cutting |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. | Use of Compressed Air Equipment |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. | Demolition Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. | Site Fencing Operations |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. | Highly Flammable Liquids |  |  |  |  |  |  |  |  |  |  |  |  |
| 16. | Liquefied Petroleum Gases (LPG) & Propane Torches |  |  |  |  |  |  |  |  |  |  |  |  |
| 17. | Environmental Protection - Control Of Diesel |  |  |  |  |  |  |  |  |  |  |  |  |
| 18. | Installing Timber Joists |  |  |  |  |  |  |  |  |  |  |  |  |
| 19. | Installing Lintels & RSJ'S |  |  |  |  |  |  |  |  |  |  |  |  |
| 20. | Laying Slabs, Kerbs, Manhole Rings, Drains etc |  |  |  |  |  |  |  |  |  |  |  |  |
| 21. | Mobile Plant |  |  |  |  |  |  |  |  |  |  |  |  |
| 22. | Roadwork & Work on the Public Highways & Footpaths |  |  |  |  |  |  |  |  |  |  |  |  |
| 23. | Working with Sewage |  |  |  |  |  |  |  |  |  |  |  |  |
| 24. | Installing Heavy & Difficult Items Such as Boilers, Kitchen Appliances etc |  |  |  |  |  |  |  |  |  |  |  |  |
| 25. | Installation of Windows and Glazing |  |  |  |  |  |  |  |  |  |  |  |  |
| 26. | Work in Lofts |  |  |  |  |  |  |  |  |  |  |  |  |
| 27. | Man Made Mineral Fibres |  |  |  |  |  |  |  |  |  |  |  |  |
| 28. | Cartridge Tools |  |  |  |  |  |  |  |  |  |  |  |  |
| 29. | Overhead Electricity Cables |  |  |  |  |  |  |  |  |  |  |  |  |
| 30. | Power Tools |  |  |  |  |  |  |  |  |  |  |  |  |
| 31. | Manual Handling |  |  |  |  |  |  |  |  |  |  |  |  |
| 32. | Use of Mobile Cranes on Site |  |  |  |  |  |  |  |  |  |  |  |  |
| 33. | Working Adjacent to Water |  |  |  |  |  |  |  |  |  |  |  |  |
| 34. | Use of Ladders |  |  |  |  |  |  |  |  |  |  |  |  |
| 35. | Housekeeping |  |  |  |  |  |  |  |  |  |  |  |  |
| 36. | Contaminated Land |  |  |  |  |  |  |  |  |  |  |  |  |
| 37. | Confined Spaces |  |  |  |  |  |  |  |  |  |  |  |  |
| 38. | Avoidance of Accidents Due to Overloading Vehicles |  |  |  |  |  |  |  |  |  |  |  |  |
| 39. | Use of Mobile Towers on Site |  |  |  |  |  |  |  |  |  |  |  |  |
| 40. | Hand Tools |  |  |  |  |  |  |  |  |  |  |  |  |

| 41. | Reversing Vehicles |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 42. | Hoists |  |  |  |  |  |  |  |  |  |  |  |  |
| 43. | Falsework |  |  |  |  |  |  |  |  |  |  |  |  |
| 44. | Working with Mobile Elevated Working Platforms |  |  |  |  |  |  |  |  |  |  |  |  |
| 45. | Use of Lasers |  |  |  |  |  |  |  |  |  |  |  |  |
| 46. | Working on Roofs |  |  |  |  |  |  |  |  |  |  |  |  |
| 47. | Work In and Around Stairwells |  |  |  |  |  |  |  |  |  |  |  |  |
| 48. | Use of Un-extended Bandstand Trestles |  |  |  |  |  |  |  |  |  |  |  |  |
| 49. | Gas/Compressed Air Nail Guns |  |  |  |  |  |  |  |  |  |  |  |  |
| 50 | Use of Roto 360 Telehandler with Winch Attachment |  |  |  |  |  |  |  |  |  |  |  |  |
| 51. | Off Loading Space4 Panels with a Forklift and Changing to Larger Carriages |  |  |  |  |  |  |  |  |  |  |  |  |
| 52. | Off Loading Trusses with a Forklift |  |  |  |  |  |  |  |  |  |  |  |  |
| 53. | Lifting Trusses with the All Terrain Forklift on 2 Storey's |  |  |  |  |  |  |  |  |  |  |  |  |
| 54. | Use of Telehandler for Lifting Suspended Loads |  |  |  |  |  |  |  |  |  |  |  |  |
| 55. | Use of Mancage with All Terrain Forklift for Unplanned Work Activities |  |  |  |  |  |  |  |  |  |  |  |  |

| Trade Specification Generic COSHH Assessments Matrix - Housebuilding Operations |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | G/Workers | Forklift | Gen Lab | Brick layer | Scaffolder | Roofer | Joiner | Plumber | Electrician | Window Fitters Mastic | Plasterer | Painter/ Decorator |
| 1. | Diesel Fuel/Gas Oil |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Petrol |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Propane |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Castrol Spheerol BM1/BM2/BM3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Castrol Spheerol AP1/AP2/AP3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. | Castrol Multiplant Oil |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. | Castrol Veta BS 32 |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. | Used Engine Oil - as drained from vehicle and plant engines |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. | Aggregates |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. | Washed Sand |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. | Ready Mix Concrete |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. | Hardened Concrete |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. | Mould Release Agent |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. | Cement and Mortar containing Cement |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. | Mortar |  |  |  |  |  |  |  |  |  |  |  |  |
| 16. | Mortar Clean |  |  |  |  |  |  |  |  |  |  |  |  |
| 17. | Carlite and Thistle Plasters |  |  |  |  |  |  |  |  |  |  |  |  |
| 18. | Bituminous Coated Road Materials |  |  |  |  |  |  |  |  |  |  |  |  |
| 19. | Bitumastic Solution (Standard Black) |  |  |  |  |  |  |  |  |  |  |  |  |
| 20. | Wood Dust - Hardwood and Softwood |  |  |  |  |  |  |  |  |  |  |  |  |
| 21. | Cutting Cement Based Roof Tiles with Power Saw |  |  |  |  |  |  |  |  |  |  |  |  |
| 22. | Man Made Mineral Fibres and Ceramic and Special Fibres |  |  |  |  |  |  |  |  |  |  |  |  |
| 23. | Water Based Paints and Stains |  |  |  |  |  |  |  |  |  |  |  |  |
| 24. | White Spirit |  |  |  |  |  |  |  |  |  |  |  |  |
| 25. | Solvent Based Paints and Stains |  |  |  |  |  |  |  |  |  |  |  |  |
| 26. | Thinners |  |  |  |  |  |  |  |  |  |  |  |  |
| 27. | Silicon Sealer |  |  |  |  |  |  |  |  |  |  |  |  |
| 28. | Sewage |  |  |  |  |  |  |  |  |  |  |  |  |
| 29. | Leptospirosis (Weils Disease) |  |  |  |  |  |  |  |  |  |  |  |  |
| 30. | Hydrogen Sulphide |  |  |  |  |  |  |  |  |  |  |  |  |
| 31. | BOC Oxygen |  |  |  |  |  |  |  |  |  |  |  |  |
| 32. | BOX Acetylene |  |  |  |  |  |  |  |  |  |  |  |  |